Product catalogue

RemTEK Electric Drives

Check List

Name of facility  		                                                                                                                                                                           Company name  		                                                                                                                                                                             Original check list code  		  Filled in by (full name)  		 Contact phone /fax/e-mail  	  Date

Basic data for electric drive selection

| 1. valve parameters |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Type of valve | □ tapered gate | □ slide gate | □ valve | □ ball valve | □ disc damper | □ other |
| Valve designation |  |  |  | Year of production |  |  |
| Manufacturer |  |  |  |  |  |  |
| Maximum permissible pressure, MPa |  | DN, mm |  | Operational pressure, MPa |  |  |
|  |  |  |  | Max. pressure drop, MPa |  |  |
| Installation flange size /connection type as per OST/ISO | □ А | □ B | □ C | □ D | □ E | □ other |
| Pre gearbox availability (for ball valves) | □ no |  | □ yes | Gear ratio per torque with performance rate |  |  |
|  |  |  |  | Gear ratio per speed |  |  |
| Maximum spindle torque, Nm | Open |  |  | Close |  |  |
|  | Мstroke | Мtear off | Мwrecking | Мstroke | Мtear off | Мwrecking |
| Safety rate as per maximum torque |  |  |  |  |  |  |
| Maximum load at spindle, N (for valves) | Open |  |  | Close |  |  |
|  | Fstroke | Ftear off | Fwrecking | Fstroke | Ftear off | Fwrecking |
| Number of weight nut turns (for gates) |  |  | Spindle stroke, mm (for gates) |  |  |  |
| Operating range, degrees (for gates and ball valves) | □ 45° | □ 90° | □ 180° | □ other ° |  |  |
| Maximum spindle stroke, mm (for valves) |  |  |  |  |  |  |
| Minimum shut off time, sec |  |  | Maximum shut off time, sec |  |  |  |
| Drive location | □ on top |  | □ underneath |  | □ side |  |

30

The check list is available for download at рэмтэк.рф

31

Tomsk Electronic company

www.npptec.ru  /  рэмтэк.рф

| 2. Electric drive parameters |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Supply voltage | □ 380 V, 50 Hz |  | □ 220 V, 50 Hz |  |  | □ 220 V, 50 Hz 380 V, 50 Hz |  |  | □ other V, Hz |  |
| Required torque (force) at electric drive output arm? Nm (N) |  |  | Rate of max. torque of electric drive to max. design torque of the valve/gate control |  |  |  |  |  | К = |  |
| Drive on the valve location | □ horizontal |  |  |  | □ vertical |  |  | □ other |  |  |
| Output arm rotation of electric drives, rev/min (for multi-turn and part-turn types) |  | Speed of output arm travel, mm/ sec (for linear) |  |  |  | Shut off time, sec (for part- turn) |  |  |  |  |
| Operation time | □ open/close □ control |  | S3 (PV 25% , 60 min) S4 (PV 25%) Number of starts per hour: |  |  |  |  |  |  |  |
| Casing protection | □ IP67 |  |  |  |  | □ other |  |  |  |  |
| Explosion proof protection | □ 1ExdIIBT4, 11GbcIIBT4 |  |  |  |  |  |  | □ other |  |  |
| Ambient temperature, °С | min , max |  |  |  |  |  |  |  |  |  |
| Galvanic isolation of the drive from valve | □ yes |  |  |  |  | □ no |  |  |  |  |
| Electronic control unit | □ М |  |  |  | □ S Thyristor reverse converter |  |  | □ V Frequency reverse converter |  |  |
| Connection diagram code (if available) |  |  |  |  |  |  |  |  |  |  |
| Field bus control | □ RS-485 Modbus RTU | □ RS-485 Profibus DP |  |  | □ ProfiNET | □ CAN |  | □ not required |  | □ other |
| Discrete signaling outputs | □ yes |  |  |  |  | □ no |  |  |  |  |
| Discrete control inputs | □ yes |  |  |  |  | □ no |  |  |  |  |
| Nominal voltage of discrete control circuits | □ 24 V DC |  | □ 110 V DC |  |  | □ 220 V AC |  |  |  |  |
| Positioner 4-20 mA | □ yes |  |  |  |  | □ no |  |  |  |  |
| Current input 4-20 mA | □ yes 1 pc. position |  | □ yes 2 pcs. position, torque |  |  |  | □ no |  |  |  |
| Built-in PID process parameter controller | □ yes |  |  |  |  | □ no |  |  |  |  |
| Connection cable type | □ armored cable |  |  |  | □ cable laid in pipe |  |  | □ cable laid in steel hose Ø |  |  |
| Set of cable inputs | □ standard |  |  |  |  | □ per request |  |  |  |  |
| Cable outer diameter Number of cable inputs | mm, pc, Type □ armor □ in pipe mm, pc, Type □ armor □ in pipe |  |  |  |  |  |  |  |  |  |
| Remote control unit (IR) within scope of supply | □ yes |  |  |  |  | □ no |  |  |  |  |
| Required (pcs.) |  |  |  |  |  |  |  |  |  |  |
| Hydrogen sulfide content exceeds 3 mg/m3 | □ yes □ no |  | Fire proof |  |  |  |  |  | □ yes □ no |  |
| Coating parameters |  |  |  |  |  |  |  |  |  |  |
| RAL color code |  |  | RAL color code of backup wheel |  |  |  |  |  |  |  |
| Additional conditions |  |  |  |  |  |  |  |  |  |  |
| 3. start-up required |  |  |  | □ yes |  |  | □ no |  |  |  |
| 4. staff training required |  |  |  | □ yes |  |  | □ no |  |  |  |